PART K

RADIATION SAFETY REQUIREMENTS FOR WIRELINE

SERVICE OPERATIONS AND SUBSURFACE TRACER STUDIES

1. 	Purpose and scope.

A. 	For the purpose of this rule, the requirements for persons using sources of radiation for wireline service operations including mineral logging, radioactive markers, and subsurface tracer studies as specified in 10 CFR Part 39, “Licenses and Radiation Safety Requirements for Well Logging,” are incorporated by reference. The requirements of this section are in addition to, and not in substitution for, the requirements of Parts A, B, C, D, and J of this rule.

B. 	Notwithstanding the requirements incorporated by reference, 10 CFR 39.5 (relating to interpretations), 10 CFR 39.8 (relating to information collection), 10 CFR 39.101 (relating to violations), and 10 CFR 39.103 (relating to criminal penalties) are not incorporated by reference.

2.	Effect of incorporation of 10 CFR Part 39 (effective date May 17, 2000).

A. 	To reconcile differences between this part and the incorporated sections of 10 CFR Part 39 (relating to using sources of radiation for wireline service operations including mineral logging, radioactive markers, and subsurface tracer studies), the following words and phrases are substituted for the language in 10 CFR Part 39 as follows:

(1) 	A reference to NRC or Commission means Agency.

(2) 	A reference to NRC or Agreement State, means Agency, NRC, Agreement State or Licensing State.

(3) 	The definition of licensed material shall be as defined in Part A of this rule.

(4) 	The definition of sealed source shall be as defined in Part A of this rule.