## Slide 1: Filter Sampling in Central Maine
Matt Burke
Senior Environmental Hydrogeologist
Maine DEP, Bureau of Remediation and Waste Management

## Slide 2: What’s there?
Two GAC filters
Totalizer
Before, between, and after ports
Maybe:
  Shed
  Water softener
  Big Blue or other
  Electrical meter

## Slide 3
Notes: Shed Systems

## Slide 4: Sample Locations
At sample Port
Pressure tank if needed

## Slide 5: Totalizer

## Slide 6: Things to Use or (Avoid)
Gloves
  (Lotions and sunscreen)
Lab Coat or Coveralls
  (Dryer sheets)
Ballpoint pens or Sharpies
HDPE
  (LDPE, Teflon)
Printed Field Sheets
  (Write-in-the-Rain)

## Slide 7: Field Sheets
Electrical Reading:

## Slide 8
Notes: Note electrical meter reading if in a shed

## Slide 9
Matt Burke
Matthew.T.Burke@maine.gov