## Sheet1
Site
DEP ID #
EGAD #
Date(s) Sampled or Sampling Event
Reviewed by
Date Reviewed
Item for Review | Reviewer Comments | Yes | No
Did report contain results for all samples and analyses requested on the chain of custody form?*
Were required QA/QC results included with lab report?*
Was EGAD EDD received?*
Were required QA/QC results included on EGAD EDD?*
Are all compounds included in the report?*
Did reporting limits meet project specifications?*
Was the laboratory Maine certified for all methods/analytes/matrices performed at the time of sample analysis?*
Was the sample cooler within required temperature range at time of receipt at laboratory? if No, enter receipt date and cooler temp in reviewer comments.
Was sample extraction performed within a holding time of 14 days for extraction?
Was sample analysis performed within a holding time of 14 days for analysis?
Were blanks run at the frequency specified by the method or SAP/QAPP?*
Was a dilution performed? If a dilution has been performed, the sum of 6 PFAS must be greater than 500 ppt for water samples. If lower than 500 ppt, the sample must be run at a lower dilution.
*If checked No, contact chemist, lab, or consultant for resolution